EMERGENCY PRECINCT COMMUNICATION

When to Notify Neighbours

Notify neighbouring buildings when an incident may:

- Impact access, safety or operations beyond your site

  - (e.g. road closures, restricted entry points)

- Affect shared spaces or surrounding areas

  - (e.g. lobbies, car parks, public interfaces, adjoining buildings)

- Require coordinated action

  - (e.g. evacuation, lockdown decisions, managing the movement of large numbers of people)

- Cause disruption to nearby buildings

  - (e.g. floodwater spread, power outages, smoke, security incidents)

- Create uncertainty across the precinct

  - (e.g. visible emergency response, alarms or unclear situations)

Purpose

This guide supports neighbouring buildings to share timely, relevant information during incidents, improving situational awareness and enabling more coordinated decision-making. It focuses on simple, practical agreements that can be applied in real time.

AND COORDINATION GUIDE

What to Share

Keep information clear, concise and focused on what others need to know:

- Situation and location: What is happening and where?

- Response and impacts: What actions are being taken and what impacts are expected?

- Information status: What is known, unknown or still developing?

- Required actions: What others need to do or be aware of

- Updates and changes: What has changed since the last communication

- Two-way communication: How neighbouring buildings can provide updates or request information

- Additional considerations: Any impacts on occupants, including those who may require additional assistance

Who to Notify

| Scenario | Who Should Be Notified |
| --- | --- |
| Immediate Risk (e.g. lockdown, fire spread) | Adjacent buildings |
| Local Disruption (e.g. power outage, internal system failure) | Nearby / potentially affected buildings |
| Broader Precinct Impact | Wider precinct contacts |

How to Communicate

| Method | When to Use |
| --- | --- |
| Phone | Urgent, time-critical situations |
| SMS / Messaging | Quick alerts or updates |
| Email | Follow-up or non-urgent updates |

Timing of Communication

- Early notification – as soon as an issue is identified

- Ongoing updates – as the situation changes

- Final update – when the situation is resolved or stabilised

Practical Agreements

| Method | Yes / No | Notes |
| --- | --- | --- |
| Key contact points are identified and shared | □ |  |
| Preferred communication methods are agreed | □ |  |
| Triggers for notification are understood | □ |  |
| Decision-making responsibilities and authority are understood | □ |  |
| Expectations are realistic (e.g. what can be shared/provided?) | □ |  |

Limitations and Expectations

- Information may be incomplete or evolving

- Emergency services may not immediately share details

- Decisions may need to be made with limited visibility

- Communication should consider accessibility and clarity for all occupants, including those who may require additional assistance

- Communication should align with emergency services instructions where known